## test20180621_
OPEN 6.3.3
Thr Jun 21 2018 14:13:17
Unit= | PSC-4871
A/D AvgTime= | 1
Config= | /User/Configs/UserPrefs/long lake rs.xml
Remark=
Area | Target | Delta | ddMargin | DeadTime | MnMsrTme | NumCycls | ddFlow | Vbase
81 | 430 | 10 | 5 | 10 | 20 | 3 | 700 | 991
Obs | HHMMSS | subplot# | FTime | Plot# | Mode | Smpls | EFFLUX | C2avg | Wavg | dc'/dt | Vtot | RHcmbr% | Tsoil_C | RHirga% | Tsch_C | dC/dt | dW/dt | R(C)m | R(C)b | InsDpth | TBlk | CO2S | H2OS | Tair | Tleaf | PARo | Press | uc_21_mV | Status | PgSts | MxWaitTme | MxMsrTme | satVapTsch | eAir_2_kPa
in | in | in | in | in | in | in | out | in | in | out | out | out | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | in
1 | 14:14:46 | 77 | 104.5 | 77 | 3 | 8 | 12.7188 | 435.4944 | 27.3714 | 1.2427 | 829 | 80.5159 | 18.4575 | 68.2703 | 25.8883 | 3.1105 | 0.08834 | 0 | 0 | 2 | 28.6683 | 441.2722 | 27.5306 | 28.7034 | 25.8883 | 0.11821 | 98.0332 | -184.5748 | 110005 | 3:Measuring (4) | 120 | 100 | 3.352 | 2.6989
2 | 14:14:49 | 77 | 107 | 77 | 3 | 13 | 11.2689 | 438.7738 | 27.4565 | 1.1011 | 829 | 81.7922 | 18.4515 | 68.6935 | 25.7284 | 2.7565 | 0.073051 | 0 | 0 | 2 | 28.6731 | 448.4102 | 27.7027 | 28.7047 | 25.7284 | 0.13713 | 98.035 | -184.5149 | 110005 | 3:Measuring (7) | 120 | 100 | 3.3204 | 2.7158
3 | 14:14:51 | 77 | 109.5 | 77 | 3 | 18 | 11.3101 | 442.2617 | 27.5426 | 1.1051 | 829 | 80.513 | 18.4366 | 68.978 | 26.0665 | 2.771 | 0.070024 | 0 | 0 | 2 | 28.6708 | 454.0962 | 27.8212 | 28.7069 | 26.0665 | 0.099302 | 98.0343 | -184.366 | 110005 | 3:Measuring (9) | 120 | 100 | 3.3876 | 2.7274
4 | 14:14:54 | 77 | 112 | 77 | 3 | 20 | 10.8605 | 447.7513 | 27.6744 | 1.0612 | 829 | 82.5808 | 18.4456 | 69.4195 | 25.7434 | 2.6603 | 0.061359 | 0 | 0 | 2 | 28.6703 | 462.8357 | 27.9952 | 28.7042 | 25.7434 | 0.37357 | 98.0333 | -184.456 | 110005 | 3:Measuring (12) | 120 | 100 | 3.3234 | 2.7445
5 | 14:14:56 | 77 | 114.5 | 77 | 3 | 20 | 10.9328 | 454.3087 | 27.8171 | 1.0682 | 829 | 82.068 | 18.453 | 69.6169 | 25.8951 | 2.6818 | 0.055701 | 0 | 0 | 2 | 28.6696 | 467.6021 | 28.0726 | 28.7028 | 25.8951 | 0.331 | 98.0329 | -184.5305 | 110005 | 3:Measuring (14) | 120 | 100 | 3.3534 | 2.752
6 | 14:14:59 | 77 | 117 | 77 | 3 | 20 | 10.6486 | 461.0233 | 27.9505 | 1.0405 | 829 | 82.5276 | 18.4476 | 69.8649 | 25.8623 | 2.6143 | 0.048024 | 0 | 0 | 2 | 28.6706 | 474.2238 | 28.1747 | 28.7043 | 25.8623 | 0.042559 | 98.0343 | -184.4761 | 110005 | 3:Measuring (17) | 120 | 100 | 3.3469 | 2.7621
7 | 14:15:01 | 77 | 119.5 | 77 | 3 | 20 | 10.5327 | 467.4178 | 28.0614 | 1.0291 | 829 | 83.0767 | 18.4542 | 70.1152 | 25.8111 | 2.5875 | 0.042418 | 0 | 0 | 2 | 28.6706 | 481.767 | 28.2758 | 28.7046 | 25.8111 | 0.099304 | 98.0357 | -184.5419 | 110005 | 3:Measuring (19) | 120 | 100 | 3.3367 | 2.772
8 | 14:15:03 | 77 | 121 | 77 | 4 | 33 | 11.77 | 430 | 28.1059 | 1.15 | 829 | 84.1157 | 18.4469 | 70.2262 | 25.6265 | 2.5817 | 0.040051 | -0.0034942 | 2.6525 | 2 | 28.6718 | 485.6102 | 28.3184 | 28.703 | 25.6265 | 0.075659 | 98.0337 | -184.4693 | 110005 | 4:Compute Final (1) | 120 | 100 | 3.3004 | 2.7762
9 | 14:15:26 | 77 | 144.5 | 77 | 3 | 8 | 12.1341 | 428.7337 | 27.9566 | 1.1856 | 829 | 82.1257 | 18.4509 | 69.638 | 25.8885 | 2.9762 | 0.065803 | 0 | 0 | 2 | 28.6732 | 434.8572 | 28.0813 | 28.7029 | 25.8885 | 0.080391 | 98.0331 | -184.509 | 110005 | 3:Measuring (4) | 120 | 100 | 3.3521 | 2.7529
10 | 14:15:29 | 77 | 147 | 77 | 3 | 13 | 11.323 | 432.1427 | 28.0242 | 1.1063 | 829 | 83.2974 | 18.4528 | 69.9513 | 25.7275 | 2.7777 | 0.056453 | 0 | 0 | 2 | 28.6713 | 442.3622 | 28.2111 | 28.7053 | 25.7275 | 0.061475 | 98.0348 | -184.5281 | 110005 | 3:Measuring (7) | 120 | 100 | 3.3202 | 2.7657
11 | 14:15:31 | 77 | 149.5 | 77 | 3 | 18 | 11.3749 | 435.6647 | 28.0878 | 1.1114 | 829 | 82.818 | 18.4435 | 70.1934 | 25.8811 | 2.7935 | 0.052723 | 0 | 0 | 2 | 28.6742 | 448.2152 | 28.3058 | 28.7032 | 25.8811 | 0.42085 | 98.0328 | -184.4345 | 110005 | 3:Measuring (9) | 120 | 100 | 3.3506 | 2.7749
12 | 14:15:34 | 77 | 152 | 77 | 3 | 20 | 11.0372 | 441.2524 | 28.187 | 1.0784 | 829 | 85.0442 | 18.4365 | 70.4764 | 25.5034 | 2.7093 | 0.04564 | 0 | 0 | 2 | 28.6768 | 456.2469 | 28.4222 | 28.705 | 25.5034 | 0.12767 | 98.0348 | -184.3651 | 110005 | 3:Measuring (12) | 120 | 100 | 3.2764 | 2.7864
13 | 14:15:36 | 77 | 154.5 | 77 | 3 | 20 | 11.0107 | 447.9808 | 28.2947 | 1.0758 | 829 | 84.5622 | 18.4599 | 70.5998 | 25.6283 | 2.7058 | 0.040773 | 0 | 0 | 2 | 28.6761 | 461.0808 | 28.4717 | 28.7046 | 25.6283 | 0.047287 | 98.0342 | -184.5994 | 110005 | 3:Measuring (14) | 120 | 100 | 3.3008 | 2.7912
14 | 14:15:39 | 77 | 157 | 77 | 3 | 20 | 10.1475 | 454.451 | 28.3845 | 0.9915 | 829 | 83.8321 | 18.4298 | 70.7319 | 25.806 | 2.4976 | 0.032053 | 0 | 0 | 2 | 28.6792 | 467.0432 | 28.5251 | 28.7045 | 25.806 | 0.056745 | 98.0327 | -184.2984 | 110005 | 3:Measuring (17) | 120 | 100 | 3.3357 | 2.7964
15 | 14:15:41 | 77 | 159.5 | 77 | 3 | 20 | 9.7611 | 460.6569 | 28.4597 | 0.95374 | 829 | 84.2149 | 18.449 | 70.8921 | 25.7662 | 2.4041 | 0.026281 | 0 | 0 | 2 | 28.6758 | 473.317 | 28.5879 | 28.7035 | 25.7662 | 0.014187 | 98.0332 | -184.4902 | 110005 | 3:Measuring (19) | 120 | 100 | 3.3279 | 2.8026
16 | 14:15:43 | 77 | 161 | 77 | 4 | 33 | 11.7778 | 430 | 28.4872 | 1.1508 | 829 | 83.0756 | 18.4501 | 70.9618 | 26.0113 | 2.3522 | 0.024172 | -0.0059843 | 3.724 | 2 | 28.6777 | 476.5219 | 28.6137 | 28.7018 | 26.0113 | 0.27897 | 98.0319 | -184.5008 | 110005 | 4:Compute Final (1) | 120 | 100 | 3.3765 | 2.8051
17 | 14:16:05 | 77 | 183.5 | 77 | 3 | 8 | 11.4579 | 430.5039 | 28.197 | 1.1195 | 829 | 83.7199 | 18.4617 | 70.1642 | 25.6956 | 2.8121 | 0.053899 | 0 | 0 | 2 | 28.6861 | 436.3762 | 28.301 | 28.7075 | 25.6956 | 0.32628 | 98.0332 | -184.6172 | 110005 | 3:Measuring (4) | 120 | 100 | 3.314 | 2.7744
18 | 14:16:08 | 77 | 186 | 77 | 3 | 13 | 11.1889 | 433.8529 | 28.2531 | 1.0932 | 829 | 83.4008 | 18.4576 | 70.3925 | 25.8162 | 2.7493 | 0.047418 | 0 | 0 | 2 | 28.6844 | 442.9269 | 28.3952 | 28.7089 | 25.8162 | 0.20806 | 98.0339 | -184.5757 | 110005 | 3:Measuring (7) | 120 | 100 | 3.3377 | 2.7837
19 | 14:16:10 | 77 | 188.5 | 77 | 3 | 18 | 11.1887 | 437.2414 | 28.3058 | 1.0932 | 829 | 85.0722 | 18.4666 | 70.6917 | 25.5521 | 2.748 | 0.044398 | 0 | 0 | 2 | 28.6834 | 451.1143 | 28.5146 | 28.7078 | 25.5521 | 0.094574 | 98.0322 | -184.6661 | 110005 | 3:Measuring (9) | 120 | 100 | 3.2859 | 2.7953
20 | 14:16:13 | 77 | 191 | 77 | 3 | 20 | 10.7556 | 442.4629 | 28.3859 | 1.0509 | 829 | 83.4499 | 18.4451 | 70.7921 | 25.902 | 2.6462 | 0.03912 | 0 | 0 | 2 | 28.6863 | 455.1081 | 28.5572 | 28.7091 | 25.902 | 0.18441 | 98.0324 | -184.4505 | 110005 | 3:Measuring (12) | 120 | 100 | 3.3547 | 2.7995
21 | 14:16:15 | 77 | 193.5 | 77 | 3 | 20 | 10.3984 | 448.9069 | 28.4756 | 1.016 | 829 | 84.2527 | 18.456 | 70.9559 | 25.7805 | 2.5588 | 0.033744 | 0 | 0 | 2 | 28.6849 | 461.9692 | 28.6246 | 28.7103 | 25.7805 | 0.31683 | 98.0343 | -184.5597 | 110005 | 3:Measuring (14) | 120 | 100 | 3.3307 | 2.8062
22 | 14:16:18 | 77 | 196 | 77 | 3 | 20 | 10.0233 | 455.1901 | 28.553 | 0.97935 | 829 | 85.003 | 18.4562 | 71.1117 | 25.6703 | 2.4673 | 0.02847 | 0 | 0 | 2 | 28.6892 | 468.3578 | 28.6911 | 28.7127 | 25.6703 | 0.13714 | 98.0352 | -184.5619 | 110005 | 3:Measuring (17) | 120 | 100 | 3.309 | 2.8127
23 | 14:16:20 | 77 | 198.5 | 77 | 3 | 20 | 9.8013 | 461.2349 | 28.619 | 0.95767 | 829 | 83.6497 | 18.4506 | 71.2247 | 25.9697 | 2.4166 | 0.024424 | 0 | 0 | 2 | 28.6911 | 474.1732 | 28.7402 | 28.7144 | 25.9697 | 0.0047288 | 98.0332 | -184.5058 | 110005 | 3:Measuring (19) | 120 | 100 | 3.3682 | 2.8175
24 | 14:16:22 | 77 | 200 | 77 | 4 | 33 | 11.2172 | 430 | 28.6423 | 1.096 | 829 | 84.2259 | 18.4554 | 71.3205 | 25.8722 | 2.5044 | 0.024502 | -0.0044978 | 3.0301 | 2 | 28.6865 | 478.8023 | 28.7718 | 28.7101 | 25.8722 | 0.34991 | 98.0332 | -184.5542 | 110005 | 4:Compute Final (1) | 120 | 100 | 3.3488 | 2.8206
NumCycls
3
25 | 14:18:23 | 77 | 321.5 | 77 | 3 | 8 | 11.1376 | 435.713 | 28.0912 | 1.0882 | 829 | 83.073 | 18.451 | 69.8156 | 25.7758 | 2.7294 | 0.062611 | 0 | 0 | 2 | 28.7262 | 441.4499 | 28.2165 | 28.7417 | 25.7758 | 0.66675 | 98.0324 | -184.5103 | 110005 | 3:Measuring (5) | 120 | 100 | 3.3298 | 2.7661
26 | 14:18:26 | 77 | 324 | 77 | 3 | 13 | 10.9283 | 439.0017 | 28.1628 | 1.0678 | 829 | 83.2502 | 18.4212 | 70.1815 | 25.8293 | 2.6794 | 0.058986 | 0 | 0 | 2 | 28.7226 | 448.8575 | 28.3663 | 28.743 | 25.8293 | 0.042557 | 98.0329 | -184.2117 | 110005 | 3:Measuring (7) | 120 | 100 | 3.3403 | 2.7808
27 | 14:18:28 | 77 | 326.5 | 77 | 3 | 18 | 10.9237 | 442.3637 | 28.2309 | 1.0673 | 829 | 83.8717 | 18.4438 | 70.457 | 25.7714 | 2.679 | 0.05596 | 0 | 0 | 2 | 28.725 | 455.2363 | 28.4803 | 28.7445 | 25.7714 | 0.43978 | 98.0325 | -184.4382 | 110005 | 3:Measuring (10) | 120 | 100 | 3.3289 | 2.792
28 | 14:18:31 | 77 | 329 | 77 | 3 | 20 | 11.2427 | 447.8172 | 28.338 | 1.0985 | 829 | 84.1796 | 18.4481 | 70.6837 | 25.7613 | 2.7589 | 0.053038 | 0 | 0 | 2 | 28.7251 | 461.1223 | 28.5676 | 28.7419 | 25.7613 | 0.18915 | 98.0327 | -184.4811 | 110005 | 3:Measuring (12) | 120 | 100 | 3.3269 | 2.8006
29 | 14:18:33 | 77 | 331.5 | 77 | 3 | 20 | 10.873 | 454.4329 | 28.4561 | 1.0624 | 829 | 84.3161 | 18.45 | 70.9023 | 25.789 | 2.6711 | 0.044764 | 0 | 0 | 2 | 28.7257 | 467.8438 | 28.6605 | 28.7449 | 25.789 | 0.37831 | 98.0343 | -184.5003 | 110005 | 3:Measuring (15) | 120 | 100 | 3.3324 | 2.8097
30 | 14:18:36 | 77 | 334 | 77 | 3 | 20 | 10.5992 | 461.0686 | 28.5608 | 1.0356 | 829 | 85.3095 | 18.4275 | 71.1158 | 25.6401 | 2.605 | 0.037744 | 0 | 0 | 2 | 28.7251 | 474.4432 | 28.7432 | 28.7428 | 25.6401 | 0.26007 | 98.0345 | -184.2747 | 110005 | 3:Measuring (17) | 120 | 100 | 3.3031 | 2.8178
31 | 14:18:38 | 77 | 336.5 | 77 | 3 | 20 | 10.1343 | 467.454 | 28.649 | 0.9902 | 829 | 86.2792 | 18.4327 | 71.2875 | 25.4906 | 2.4916 | 0.031267 | 0 | 0 | 2 | 28.7281 | 481.4624 | 28.8132 | 28.7431 | 25.4906 | 0.061468 | 98.034 | -184.3268 | 110005 | 3:Measuring (20) | 120 | 100 | 3.2739 | 2.8247
32 | 14:18:40 | 77 | 338 | 77 | 4 | 33 | 11.2303 | 430 | 28.6805 | 1.0973 | 829 | 85.3461 | 18.4436 | 71.3252 | 25.6839 | 2.5266 | 0.030262 | -0.0021866 | 2.0375 | 2 | 28.7269 | 483.2521 | 28.8307 | 28.7443 | 25.6839 | 0.19387 | 98.0335 | -184.4359 | 110005 | 4:Compute Final | 120 | 100 | 3.3117 | 2.8264
33 | 14:19:02 | 77 | 361 | 77 | 3 | 8 | 9.8007 | 428.6396 | 28.3883 | 0.95761 | 829 | 83.6108 | 18.4341 | 70.4587 | 25.827 | 2.4073 | 0.044183 | 0 | 0 | 2 | 28.7321 | 434.054 | 28.4851 | 28.7471 | 25.827 | 0.25535 | 98.0332 | -184.3409 | 110005 | 3:Measuring (4) | 120 | 100 | 3.3399 | 2.7925
34 | 14:19:05 | 77 | 363.5 | 77 | 3 | 13 | 10.3615 | 431.8406 | 28.4436 | 1.0124 | 829 | 83.9521 | 18.4455 | 70.7461 | 25.8261 | 2.5459 | 0.044409 | 0 | 0 | 2 | 28.7329 | 441.4658 | 28.5995 | 28.7462 | 25.8261 | 0.20806 | 98.0343 | -184.4551 | 110005 | 3:Measuring (7) | 120 | 100 | 3.3397 | 2.8037
35 | 14:19:07 | 77 | 366 | 77 | 3 | 18 | 10.9812 | 435.3212 | 28.4979 | 1.0729 | 829 | 85.4428 | 18.4501 | 70.9757 | 25.5825 | 2.6974 | 0.043681 | 0 | 0 | 2 | 28.7305 | 448.4751 | 28.6906 | 28.7448 | 25.5825 | 0.26952 | 98.032 | -184.5008 | 110005 | 3:Measuring (9) | 120 | 100 | 3.2918 | 2.8126
36 | 14:19:10 | 77 | 368.5 | 77 | 3 | 20 | 10.8722 | 440.5639 | 28.5767 | 1.0623 | 829 | 85.7514 | 18.4549 | 71.139 | 25.5638 | 2.6722 | 0.038857 | 0 | 0 | 2 | 28.7325 | 454.6613 | 28.762 | 28.7482 | 25.5638 | 0.2317 | 98.0331 | -184.5487 | 110005 | 3:Measuring (12) | 120 | 100 | 3.2881 | 2.8196
37 | 14:19:12 | 77 | 371 | 77 | 3 | 20 | 10.4292 | 447.0536 | 28.6663 | 1.019 | 829 | 84.6321 | 18.4398 | 71.24 | 25.8112 | 2.5673 | 0.032655 | 0 | 0 | 2 | 28.7364 | 459.2201 | 28.8067 | 28.7502 | 25.8112 | 0.18915 | 98.0315 | -184.3984 | 110005 | 3:Measuring (14) | 120 | 100 | 3.3367 | 2.824
38 | 14:19:15 | 77 | 373.5 | 77 | 3 | 20 | 9.826 | 453.448 | 28.7419 | 0.96008 | 829 | 85.5622 | 18.4368 | 71.3855 | 25.6625 | 2.4195 | 0.026129 | 0 | 0 | 2 | 28.7355 | 466.3896 | 28.8666 | 28.7514 | 25.6625 | 0.14185 | 98.0345 | -184.3683 | 110005 | 3:Measuring (17) | 120 | 100 | 3.3075 | 2.8299
39 | 14:19:17 | 77 | 376 | 77 | 3 | 20 | 9.5921 | 459.403 | 28.802 | 0.93722 | 829 | 85.3033 | 18.4459 | 71.5142 | 25.7429 | 2.3641 | 0.021918 | 0 | 0 | 2 | 28.7355 | 472.0767 | 28.9172 | 28.7504 | 25.7429 | 0.12768 | 98.0337 | -184.4587 | 110005 | 3:Measuring (19) | 120 | 100 | 3.3233 | 2.8349
40 | 14:19:19 | 77 | 377.5 | 77 | 4 | 33 | 10.6614 | 430 | 28.8239 | 1.0417 | 829 | 85.1477 | 18.4488 | 71.5559 | 25.782 | 2.3822 | 0.02139 | -0.0026209 | 2.1687 | 2 | 28.7354 | 474.6811 | 28.9318 | 28.7488 | 25.782 | 0.10875 | 98.0319 | -184.488 | 110005 | 4:Compute Final (1) | 120 | 100 | 3.331 | 2.8362
41 | 14:19:41 | 77 | 399.5 | 77 | 3 | 8 | 10.6533 | 430.0702 | 28.4589 | 1.0409 | 829 | 84.2795 | 18.446 | 70.6033 | 25.7294 | 2.6179 | 0.043499 | 0 | 0 | 2 | 28.7364 | 435.4106 | 28.548 | 28.7494 | 25.7294 | 0.052016 | 98.0311 | -184.4597 | 110005 | 3:Measuring (5) | 120 | 100 | 3.3206 | 2.7986
42 | 14:19:43 | 77 | 402 | 77 | 3 | 13 | 11.3238 | 433.5404 | 28.5161 | 1.1064 | 829 | 86.2114 | 18.433 | 70.9243 | 25.4273 | 2.7798 | 0.045812 | 0 | 0 | 2 | 28.7386 | 444.1798 | 28.6829 | 28.7528 | 25.4273 | 0.13714 | 98.0328 | -184.3299 | 110005 | 3:Measuring (7) | 120 | 100 | 3.2616 | 2.8119
43 | 14:19:46 | 77 | 404.5 | 77 | 3 | 18 | 11.045 | 436.9286 | 28.5671 | 1.0792 | 829 | 84.8957 | 18.4585 | 71.0618 | 25.7169 | 2.715 | 0.042151 | 0 | 0 | 2 | 28.7409 | 448.6772 | 28.7352 | 28.7507 | 25.7169 | 0.28373 | 98.0319 | -184.5848 | 110005 | 3:Measuring (10) | 120 | 100 | 3.3182 | 2.817
44 | 14:19:48 | 77 | 407 | 77 | 3 | 20 | 11.0099 | 442.3626 | 28.6454 | 1.0758 | 829 | 85.4718 | 18.4493 | 71.2511 | 25.648 | 2.7073 | 0.038018 | 0 | 0 | 2 | 28.7406 | 455.6637 | 28.8116 | 28.7509 | 25.648 | 0.04256 | 98.0336 | -184.493 | 110005 | 3:Measuring (12) | 120 | 100 | 3.3046 | 2.8245
45 | 14:19:51 | 77 | 409.5 | 77 | 3 | 20 | 10.3087 | 448.7971 | 28.7305 | 1.0072 | 829 | 85.6233 | 18.4537 | 71.3872 | 25.6491 | 2.5369 | 0.03056 | 0 | 0 | 2 | 28.739 | 461.339 | 28.8644 | 28.7497 | 25.6491 | 0.19387 | 98.0346 | -184.5373 | 110005 | 3:Measuring (15) | 120 | 100 | 3.3048 | 2.8297
46 | 14:19:53 | 77 | 412 | 77 | 3 | 20 | 9.7947 | 455.0375 | 28.8016 | 0.95702 | 829 | 85.0096 | 18.4629 | 71.5076 | 25.8 | 2.4133 | 0.025184 | 0 | 0 | 2 | 28.7375 | 466.7665 | 28.9154 | 28.7508 | 25.8 | 0.052013 | 98.0331 | -184.6291 | 110005 | 3:Measuring (17) | 120 | 100 | 3.3345 | 2.8347
47 | 14:19:56 | 77 | 414.5 | 77 | 3 | 20 | 9.6218 | 461.0936 | 28.8616 | 0.94013 | 829 | 86.1539 | 18.4772 | 71.6428 | 25.6077 | 2.3705 | 0.021673 | 0 | 0 | 2 | 28.7376 | 473.8758 | 28.9726 | 28.7523 | 25.6077 | 0.070932 | 98.0327 | -184.7721 | 110005 | 3:Measuring (20) | 120 | 100 | 3.2967 | 2.8403
48 | 14:19:57 | 77 | 416 | 77 | 4 | 33 | 11.2881 | 430 | 28.8842 | 1.1029 | 829 | 85.2927 | 18.4531 | 71.6904 | 25.7863 | 2.3384 | 0.020162 | -0.0051297 | 3.3087 | 2 | 28.7394 | 477.1686 | 28.988 | 28.7502 | 25.7863 | 0.1324 | 98.0337 | -184.5314 | 110005 | 4:Compute Final | 120 | 100 | 3.3318 | 2.8418
49 | 14:22:20 | 2 | 558.5 | 77 | 3 | 8 | 3.1348 | 421.9077 | 36.2785 | 0.3063 | 829 | 95.4074 | 20.6739 | 87.2951 | 27.7205 | 0.77186 | 0.021042 | 0 | 0 | 2 | 29.2207 | 423.7079 | 36.3304 | 29.2503 | 27.7205 | 0.033102 | 98.0441 | -206.7387 | 110005 | 3:Measuring (5) | 120 | 100 | 3.7334 | 3.562
50 | 14:22:22 | 2 | 561 | 77 | 3 | 13 | 3.2643 | 422.9268 | 36.3078 | 0.31895 | 829 | 95.3996 | 20.6558 | 87.3608 | 27.7484 | 0.80338 | 0.022842 | 0 | 0 | 2 | 29.2343 | 425.6959 | 36.3867 | 29.264 | 27.7484 | 0.23643 | 98.0438 | -206.5575 | 110005 | 3:Measuring (7) | 120 | 100 | 3.7395 | 3.5675
51 | 14:22:25 | 2 | 563.5 | 77 | 3 | 18 | 3.2848 | 423.94 | 36.3364 | 0.32095 | 829 | 95.4567 | 20.6445 | 87.4181 | 27.7668 | 0.80854 | 0.022806 | 0 | 0 | 2 | 29.2502 | 427.8508 | 36.4472 | 29.2817 | 27.7668 | 0.061476 | 98.045 | -206.4447 | 110005 | 3:Measuring (10) | 120 | 100 | 3.7435 | 3.5735
52 | 14:22:27 | 2 | 566 | 77 | 3 | 20 | 3.3203 | 425.5543 | 36.3828 | 0.32442 | 829 | 95.4452 | 20.6619 | 87.4951 | 27.7986 | 0.81705 | 0.023669 | 0 | 0 | 2 | 29.2721 | 429.8586 | 36.5113 | 29.2965 | 27.7986 | 0.0047287 | 98.0433 | -206.619 | 110005 | 3:Measuring (12) | 120 | 100 | 3.7505 | 3.5797
53 | 14:22:30 | 2 | 568.5 | 77 | 3 | 20 | 3.2852 | 427.5923 | 36.4396 | 0.32099 | 829 | 95.5644 | 20.6166 | 87.4999 | 27.7939 | 0.8089 | 0.022274 | 0 | 0 | 2 | 29.2883 | 431.9094 | 36.5487 | 29.3124 | 27.7939 | 0.34521 | 98.0379 | -206.166 | 110005 | 3:Measuring (15) | 120 | 100 | 3.7495 | 3.5832
54 | 14:22:32 | 2 | 571 | 77 | 3 | 20 | 3.2843 | 429.6186 | 36.4929 | 0.32091 | 829 | 95.6429 | 20.6057 | 87.5675 | 27.8075 | 0.80932 | 0.020701 | 0 | 0 | 2 | 29.3015 | 433.8238 | 36.6051 | 29.3271 | 27.8075 | 0.056746 | 98.0457 | -206.0567 | 110005 | 3:Measuring (17) | 120 | 100 | 3.7525 | 3.589
55 | 14:22:35 | 2 | 573.5 | 77 | 3 | 20 | 3.307 | 431.6597 | 36.5481 | 0.32312 | 829 | 95.6423 | 20.6167 | 87.594 | 27.8329 | 0.81493 | 0.020856 | 0 | 0 | 2 | 29.3196 | 435.971 | 36.6591 | 29.3473 | 27.8329 | 0.26481 | 98.0456 | -206.1672 | 110005 | 3:Measuring (20) | 120 | 100 | 3.758 | 3.5943
56 | 14:22:37 | 2 | 576 | 77 | 3 | 20 | 3.276 | 433.6762 | 36.5973 | 0.32009 | 829 | 95.7022 | 20.5962 | 87.6225 | 27.8418 | 0.8075 | 0.020149 | 0 | 0 | 2 | 29.3368 | 437.8788 | 36.7016 | 29.3616 | 27.8418 | 0.085123 | 98.0443 | -205.9618 | 110005 | 3:Measuring (22) | 120 | 100 | 3.76 | 3.5984
57 | 14:22:40 | 2 | 578.5 | 77 | 3 | 20 | 3.2148 | 435.6775 | 36.6457 | 0.31411 | 829 | 95.7555 | 20.5977 | 87.6779 | 27.8569 | 0.79277 | 0.018995 | 0 | 0 | 2 | 29.3546 | 439.9084 | 36.7546 | 29.3755 | 27.8569 | 0.099302 | 98.0438 | -205.9773 | 110005 | 3:Measuring (25) | 120 | 100 | 3.7633 | 3.6036
58 | 14:22:41 | 2 | 579.5 | 77 | 4 | 42 | 3.2779 | 430 | 36.656 | 0.32027 | 829 | 95.7086 | 20.5825 | 87.6762 | 27.8728 | 0.79467 | 0.019045 | 4.5685e-05 | 0.30063 | 2 | 29.3612 | 440.6168 | 36.7703 | 29.3835 | 27.8728 | 0.15606 | 98.045 | -205.8247 | 110005 | 4:Compute Final (1) | 120 | 100 | 3.7668 | 3.6051
59 | 14:23:19 | 2 | 618 | 77 | 3 | 8 | 3.1237 | 422.1533 | 37.2453 | 0.30521 | 829 | 95.9613 | 20.5127 | 87.6215 | 28.0641 | 0.77322 | 0.01359 | 0 | 0 | 2 | 29.6212 | 423.9689 | 37.281 | 29.6335 | 28.0641 | 0.033101 | 98.0447 | -205.1273 | 110005 | 3:Measuring (4) | 120 | 100 | 3.809 | 3.6552
60 | 14:23:22 | 2 | 620.5 | 77 | 3 | 13 | 3.3164 | 423.191 | 37.2655 | 0.32404 | 829 | 95.9947 | 20.5317 | 87.6307 | 28.0765 | 0.82036 | 0.015798 | 0 | 0 | 2 | 29.6396 | 425.9788 | 37.321 | 29.6503 | 28.0765 | 0.037831 | 98.0446 | -205.3167 | 110005 | 3:Measuring (7) | 120 | 100 | 3.8118 | 3.6591
61 | 14:23:24 | 2 | 623 | 77 | 3 | 18 | 3.2649 | 424.1912 | 37.2836 | 0.31901 | 829 | 96.0575 | 20.5001 | 87.6124 | 28.0764 | 0.80793 | 0.014775 | 0 | 0 | 2 | 29.6551 | 428.1015 | 37.3451 | 29.6652 | 28.0764 | 0.37829 | 98.0449 | -205.0013 | 110005 | 3:Measuring (9) | 120 | 100 | 3.8118 | 3.6615
62 | 14:23:27 | 2 | 625.5 | 77 | 3 | 20 | 3.3009 | 425.8124 | 37.3127 | 0.32252 | 829 | 96.1301 | 20.4982 | 87.6581 | 28.0895 | 0.81663 | 0.0154 | 0 | 0 | 2 | 29.6722 | 430.1324 | 37.4018 | 29.6825 | 28.0895 | 0.10876 | 98.0452 | -204.9815 | 110005 | 3:Measuring (12) | 120 | 100 | 3.8147 | 3.6671
63 | 14:23:29 | 2 | 628 | 77 | 3 | 20 | 3.2382 | 427.8405 | 37.3518 | 0.3164 | 829 | 96.0239 | 20.5044 | 87.6117 | 28.1141 | 0.80126 | 0.014918 | 0 | 0 | 2 | 29.6906 | 431.8152 | 37.4146 | 29.6974 | 28.1141 | 0.2459 | 98.0436 | -205.0444 | 110005 | 3:Measuring (14) | 120 | 100 | 3.8202 | 3.6683
64 | 14:23:32 | 2 | 630.5 | 77 | 3 | 20 | 3.2022 | 429.8152 | 37.3849 | 0.31288 | 829 | 96.1384 | 20.4938 | 87.5893 | 28.1074 | 0.79285 | 0.013492 | 0 | 0 | 2 | 29.7075 | 434.0479 | 37.4436 | 29.7158 | 28.1074 | 0.26482 | 98.0464 | -204.9384 | 110005 | 3:Measuring (17) | 120 | 100 | 3.8187 | 3.6712
65 | 14:23:34 | 2 | 633 | 77 | 3 | 20 | 3.2137 | 431.8403 | 37.4184 | 0.31401 | 829 | 96.0036 | 20.4847 | 87.6216 | 28.152 | 0.79625 | 0.01252 | 0 | 0 | 2 | 29.7247 | 435.9494 | 37.4884 | 29.7301 | 28.152 | 0.066201 | 98.0459 | -204.8469 | 110005 | 3:Measuring (19) | 120 | 100 | 3.8286 | 3.6756
66 | 14:23:37 | 2 | 635.5 | 77 | 3 | 20 | 3.2519 | 433.8308 | 37.4505 | 0.31774 | 829 | 96.1503 | 20.4698 | 87.6191 | 28.1418 | 0.80593 | 0.012074 | 0 | 0 | 2 | 29.7398 | 438.0948 | 37.5234 | 29.7468 | 28.1418 | 0.10403 | 98.0459 | -204.6984 | 110005 | 3:Measuring (22) | 120 | 100 | 3.8263 | 3.679
67 | 14:23:39 | 2 | 638 | 77 | 3 | 20 | 3.3157 | 435.8522 | 37.4832 | 0.32398 | 829 | 96.2134 | 20.4612 | 87.6793 | 28.1554 | 0.82067 | 0.014762 | 0 | 0 | 2 | 29.757 | 440.1754 | 37.5789 | 29.7601 | 28.1554 | 0.06147 | 98.0433 | -204.6116 | 110005 | 3:Measuring (24) | 120 | 100 | 3.8294 | 3.6844
68 | 14:23:40 | 2 | 638.5 | 77 | 4 | 41 | 3.2503 | 430 | 37.4832 | 0.31758 | 829 | 96.1925 | 20.4868 | 87.6668 | 28.1597 | 0.82067 | 0.014762 | 2.1035e-05 | 0.30854 | 2 | 29.7568 | 440.5849 | 37.5803 | 29.7631 | 28.1597 | 0.094569 | 98.0429 | -204.8679 | 110005 | 4:Compute Final (1) | 120 | 100 | 3.8303 | 3.6845
69 | 14:24:18 | 2 | 677 | 77 | 3 | 8 | 3.5588 | 422.2195 | 37.8595 | 0.34772 | 829 | 96.1641 | 20.3375 | 87.2446 | 28.3036 | 0.88221 | 0.014109 | 0 | 0 | 2 | 29.9807 | 424.2128 | 37.8839 | 29.9876 | 28.3036 | 0.11822 | 98.0462 | -203.3747 | 110005 | 3:Measuring (4) | 120 | 100 | 3.8625 | 3.7144
70 | 14:24:21 | 2 | 679.5 | 77 | 3 | 13 | 3.3965 | 423.2687 | 37.8723 | 0.33186 | 829 | 96.072 | 20.3386 | 87.2339 | 28.3317 | 0.84309 | 0.011118 | 0 | 0 | 2 | 29.995 | 426.0519 | 37.9099 | 30.0015 | 28.3317 | 0.24117 | 98.0447 | -203.3857 | 110005 | 3:Measuring (7) | 120 | 100 | 3.8688 | 3.7169
71 | 14:24:23 | 2 | 682 | 77 | 3 | 18 | 3.3362 | 424.2917 | 37.8838 | 0.32597 | 829 | 96.0611 | 20.3195 | 87.2107 | 28.3413 | 0.82864 | 0.0097995 | 0 | 0 | 2 | 30.0074 | 428.2116 | 37.9273 | 30.0139 | 28.3413 | 0.023644 | 98.0438 | -203.1948 | 110005 | 3:Measuring (9) | 120 | 100 | 3.871 | 3.7185
72 | 14:24:26 | 2 | 684.5 | 77 | 3 | 20 | 3.3183 | 425.958 | 37.9036 | 0.32422 | 829 | 96.1376 | 20.3418 | 87.2189 | 28.3426 | 0.82434 | 0.0093809 | 0 | 0 | 2 | 30.0189 | 430.2672 | 37.9602 | 30.0274 | 28.3426 | 0.14186 | 98.0441 | -203.4178 | 110005 | 3:Measuring (12) | 120 | 100 | 3.8713 | 3.7218
73 | 14:24:28 | 2 | 687 | 77 | 3 | 20 | 3.3438 | 428.0327 | 37.93 | 0.32672 | 829 | 96.0783 | 20.3012 | 87.2066 | 28.3634 | 0.83019 | 0.010671 | 0 | 0 | 2 | 30.0322 | 432.2678 | 37.9828 | 30.0402 | 28.3634 | 0.30739 | 98.0441 | -203.0119 | 110005 | 3:Measuring (14) | 120 | 100 | 3.876 | 3.724
74 | 14:24:31 | 2 | 689.5 | 77 | 3 | 20 | 3.3026 | 430.0627 | 37.955 | 0.32269 | 829 | 96.0501 | 20.3022 | 87.2403 | 28.382 | 0.81988 | 0.010736 | 0 | 0 | 2 | 30.0444 | 434.3207 | 38.0122 | 30.0471 | 28.382 | 0.014187 | 98.0448 | -203.0216 | 110005 | 3:Measuring (17) | 120 | 100 | 3.8802 | 3.7269
75 | 14:24:33 | 2 | 692 | 77 | 3 | 20 | 3.3125 | 432.139 | 37.9826 | 0.32366 | 829 | 96.2004 | 20.2898 | 87.2325 | 28.3668 | 0.82221 | 0.010949 | 0 | 0 | 2 | 30.0569 | 436.5766 | 38.0386 | 30.0606 | 28.3668 | 0.080391 | 98.0441 | -202.8978 | 110005 | 3:Measuring (19) | 120 | 100 | 3.8768 | 3.7295
76 | 14:24:36 | 2 | 694.5 | 77 | 3 | 20 | 3.3058 | 434.1918 | 38.0079 | 0.323 | 829 | 96.1435 | 20.2541 | 87.1887 | 28.3837 | 0.82138 | 0.0091008 | 0 | 0 | 2 | 30.068 | 438.4756 | 38.0533 | 30.0761 | 28.3837 | 0.080391 | 98.044 | -202.5406 | 110005 | 3:Measuring (22) | 120 | 100 | 3.8806 | 3.7309
77 | 14:24:38 | 2 | 697 | 77 | 4 | 40 | 3.3312 | 430 | 38.027 | 0.32549 | 829 | 96.0638 | 20.2447 | 87.2236 | 28.4133 | 0.83209 | 0.0095982 | -0.00093451 | 0.72733 | 2 | 30.0786 | 440.6111 | 38.0872 | 30.0847 | 28.4133 | 0.21752 | 98.0443 | -202.4466 | 110005 | 4:Compute Final | 120 | 100 | 3.8872 | 3.7342
78 | 14:25:41 | 2 | 760 | 77 | 3 | 8 | 3.285 | 422.1965 | 38.4449 | 0.32097 | 829 | 95.8698 | 20.0399 | 86.4885 | 28.6221 | 0.81294 | 0.01825 | 0 | 0 | 2 | 30.4188 | 423.9996 | 38.4748 | 30.4085 | 28.6221 | 0.30265 | 98.0419 | -200.3989 | 110005 | 3:Measuring (4) | 120 | 100 | 3.9347 | 3.7721
79 | 14:25:44 | 2 | 762.5 | 77 | 3 | 13 | 3.245 | 423.2015 | 38.4588 | 0.31706 | 829 | 95.8364 | 20.0117 | 86.4728 | 28.6386 | 0.80547 | 0.01261 | 0 | 0 | 2 | 30.4321 | 426.0632 | 38.4987 | 30.4224 | 28.6386 | 0.31212 | 98.0412 | -200.1172 | 110005 | 3:Measuring (7) | 120 | 100 | 3.9384 | 3.7745
80 | 14:25:46 | 2 | 765 | 77 | 3 | 18 | 3.2953 | 424.2361 | 38.4733 | 0.32198 | 829 | 95.8423 | 20.0054 | 86.4648 | 28.6495 | 0.81836 | 0.011898 | 0 | 0 | 2 | 30.4466 | 428.1254 | 38.5243 | 30.436 | 28.6495 | 0.43034 | 98.0436 | -200.0538 | 110005 | 3:Measuring (9) | 120 | 100 | 3.9409 | 3.7771
81 | 14:25:49 | 2 | 767.5 | 77 | 3 | 20 | 3.2508 | 425.8565 | 38.4948 | 0.31763 | 829 | 95.8582 | 20.0137 | 86.4441 | 28.6535 | 0.80825 | 0.0095788 | 0 | 0 | 2 | 30.4581 | 430.0178 | 38.54 | 30.4472 | 28.6535 | 0.018915 | 98.0429 | -200.1374 | 110005 | 3:Measuring (12) | 120 | 100 | 3.9418 | 3.7786
82 | 14:25:51 | 2 | 770 | 77 | 3 | 20 | 3.2785 | 427.89 | 38.5171 | 0.32034 | 829 | 95.8959 | 19.9816 | 86.4456 | 28.6594 | 0.81558 | 0.008693 | 0 | 0 | 2 | 30.4713 | 432.2419 | 38.5687 | 30.4597 | 28.6594 | 0.042561 | 98.0416 | -199.816 | 110005 | 3:Measuring (14) | 120 | 100 | 3.9432 | 3.7813
83 | 14:25:54 | 2 | 772.5 | 77 | 3 | 20 | 3.2852 | 429.9454 | 38.5411 | 0.32099 | 829 | 95.8235 | 19.9708 | 86.4538 | 28.6849 | 0.81729 | 0.008715 | 0 | 0 | 2 | 30.4853 | 434.3306 | 38.5972 | 30.4707 | 28.6849 | 0.023643 | 98.0404 | -199.708 | 110005 | 3:Measuring (17) | 120 | 100 | 3.949 | 3.7841
84 | 14:25:56 | 2 | 775 | 77 | 3 | 20 | 3.3404 | 431.9892 | 38.5626 | 0.32639 | 829 | 95.9386 | 19.9747 | 86.4062 | 28.6672 | 0.8308 | 0.0091978 | 0 | 0 | 2 | 30.4967 | 436.2121 | 38.6031 | 30.4834 | 28.6672 | 0.052018 | 98.0423 | -199.747 | 110005 | 3:Measuring (19) | 120 | 100 | 3.945 | 3.7847
85 | 14:25:59 | 2 | 777.5 | 77 | 3 | 20 | 3.2934 | 434.0397 | 38.5843 | 0.32179 | 829 | 95.9116 | 19.9587 | 86.4001 | 28.6835 | 0.81922 | 0.0088541 | 0 | 0 | 2 | 30.514 | 438.3508 | 38.6288 | 30.4962 | 28.6835 | 0.056751 | 98.0424 | -199.5873 | 110005 | 3:Measuring (22) | 120 | 100 | 3.9487 | 3.7873
86 | 14:26:01 | 2 | 780 | 77 | 3 | 20 | 3.2516 | 436.0809 | 38.6072 | 0.31771 | 829 | 95.8612 | 19.9765 | 86.3641 | 28.7003 | 0.80914 | 0.0081746 | 0 | 0 | 2 | 30.5255 | 440.2321 | 38.6468 | 30.5113 | 28.7003 | 0.43505 | 98.0407 | -199.765 | 110005 | 3:Measuring (24) | 120 | 100 | 3.9525 | 3.789
87 | 14:26:02 | 2 | 780.5 | 77 | 4 | 41 | 3.2866 | 430 | 38.6072 | 0.32112 | 829 | 95.8423 | 19.9454 | 86.3609 | 28.706 | 0.80914 | 0.0081746 | 0.00017686 | 0.24508 | 2 | 30.5265 | 440.6806 | 38.652 | 30.5143 | 28.706 | 0.0662 | 98.0407 | -199.4537 | 110005 | 4:Compute Final (1) | 120 | 100 | 3.9539 | 3.7895
88 | 14:26:39 | 2 | 818 | 77 | 3 | 8 | 3.3042 | 422.179 | 38.7705 | 0.32285 | 829 | 95.6276 | 19.8482 | 85.7872 | 28.8049 | 0.82359 | 0.0061249 | 0 | 0 | 2 | 30.7126 | 423.9017 | 38.7876 | 30.6919 | 28.8049 | 0.25535 | 98.0395 | -198.4819 | 110005 | 3:Measuring (4) | 120 | 100 | 3.9766 | 3.8027
89 | 14:26:42 | 2 | 820.5 | 77 | 3 | 13 | 3.319 | 423.203 | 38.7828 | 0.3243 | 829 | 95.5963 | 19.8499 | 85.7955 | 28.8269 | 0.82597 | 0.0092337 | 0 | 0 | 2 | 30.7261 | 426.0899 | 38.8235 | 30.7068 | 28.8269 | 0.13714 | 98.0416 | -198.4994 | 110005 | 3:Measuring (7) | 120 | 100 | 3.9817 | 3.8063
90 | 14:26:44 | 2 | 823 | 77 | 3 | 18 | 3.3085 | 424.2287 | 38.7956 | 0.32327 | 829 | 95.6196 | 19.8198 | 85.7592 | 28.828 | 0.82309 | 0.0098221 | 0 | 0 | 2 | 30.739 | 428.1393 | 38.836 | 30.7196 | 28.828 | 0.227 | 98.0405 | -198.1981 | 110005 | 3:Measuring (9) | 120 | 100 | 3.9819 | 3.8075
91 | 14:26:47 | 2 | 825.5 | 77 | 3 | 20 | 3.2934 | 425.8673 | 38.8131 | 0.32179 | 829 | 95.533 | 19.8112 | 85.748 | 28.8546 | 0.81954 | 0.0093929 | 0 | 0 | 2 | 30.7537 | 430.1902 | 38.8607 | 30.733 | 28.8546 | 0.056749 | 98.0404 | -198.1123 | 110005 | 3:Measuring (12) | 120 | 100 | 3.9881 | 3.8099
92 | 14:26:49 | 2 | 828 | 77 | 3 | 20 | 3.3106 | 427.9221 | 38.8362 | 0.32347 | 829 | 95.5239 | 19.8357 | 85.7322 | 28.8638 | 0.82422 | 0.0085863 | 0 | 0 | 2 | 30.7647 | 432.2724 | 38.8776 | 30.7439 | 28.8638 | 0.0047291 | 98.0405 | -198.3567 | 110005 | 3:Measuring (14) | 120 | 100 | 3.9902 | 3.8116
93 | 14:26:52 | 2 | 830.5 | 77 | 3 | 20 | 3.2966 | 429.9741 | 38.8564 | 0.3221 | 829 | 95.4614 | 19.8002 | 85.7166 | 28.8858 | 0.82128 | 0.0073949 | 0 | 0 | 2 | 30.7775 | 434.1863 | 38.9019 | 30.7579 | 28.8858 | 0.037833 | 98.0398 | -198.0018 | 110005 | 3:Measuring (17) | 120 | 100 | 3.9953 | 3.8139
94 | 14:26:54 | 2 | 833 | 77 | 3 | 20 | 3.2472 | 431.9999 | 38.8749 | 0.31728 | 829 | 95.5415 | 19.7957 | 85.6783 | 28.8752 | 0.80889 | 0.0073811 | 0 | 0 | 2 | 30.7872 | 436.2593 | 38.9104 | 30.7697 | 28.8752 | 0.1466 | 98.0406 | -197.9567 | 110005 | 3:Measuring (19) | 120 | 100 | 3.9928 | 3.8148
95 | 14:26:57 | 2 | 835.5 | 77 | 3 | 20 | 3.2462 | 434.0449 | 38.8926 | 0.31718 | 829 | 95.5022 | 19.8053 | 85.7 | 28.8938 | 0.80913 | 0.0064255 | 0 | 0 | 2 | 30.7979 | 438.3577 | 38.9368 | 30.7769 | 28.8938 | 0.31211 | 98.0396 | -198.0526 | 110005 | 3:Measuring (22) | 120 | 100 | 3.9971 | 3.8174
96 | 14:26:59 | 2 | 838 | 77 | 3 | 20 | 3.2514 | 436.0664 | 38.9108 | 0.31769 | 829 | 95.5252 | 19.7979 | 85.6446 | 28.8938 | 0.81001 | 0.0072847 | 0 | 0 | 2 | 30.8133 | 440.3953 | 38.9466 | 30.7925 | 28.8938 | 0.34522 | 98.0387 | -197.9793 | 110005 | 3:Measuring (24) | 120 | 100 | 3.9971 | 3.8183
97 | 14:27:00 | 2 | 838.5 | 77 | 4 | 41 | 3.2753 | 430 | 38.9108 | 0.32002 | 829 | 95.4899 | 19.7895 | 85.6441 | 28.9017 | 0.81001 | 0.0072847 | -0.00034781 | 0.46958 | 2 | 30.8187 | 440.8206 | 38.9502 | 30.794 | 28.9017 | 0.12768 | 98.0377 | -197.8945 | 110005 | 4:Compute Final (1) | 120 | 100 | 3.9989 | 3.8186
98 | 14:27:37 | 2 | 875.5 | 77 | 3 | 8 | 3.2819 | 422.0198 | 39.0103 | 0.32067 | 829 | 95.0918 | 19.659 | 85.0147 | 29.0118 | 0.81729 | 0.0090158 | 0 | 0 | 2 | 30.9826 | 423.8064 | 39.0345 | 30.9618 | 29.0118 | 0.018916 | 98.041 | -196.5904 | 110005 | 3:Measuring (5) | 120 | 100 | 4.0245 | 3.827
99 | 14:27:39 | 2 | 878 | 77 | 3 | 13 | 3.3076 | 423.0511 | 39.0232 | 0.32318 | 829 | 95.213 | 19.6804 | 85.0298 | 28.9989 | 0.82319 | 0.010157 | 0 | 0 | 2 | 30.9917 | 425.911 | 39.0555 | 30.9679 | 28.9989 | 0 | 98.0399 | -196.8037 | 110005 | 3:Measuring (7) | 120 | 100 | 4.0215 | 3.829
100 | 14:27:42 | 2 | 880.5 | 77 | 3 | 18 | 3.2832 | 424.0699 | 39.0339 | 0.3208 | 829 | 95.1725 | 19.6792 | 85.0132 | 29.0146 | 0.81761 | 0.0090473 | 0 | 0 | 2 | 31.0039 | 427.9911 | 39.0749 | 30.9798 | 29.0146 | 0.26955 | 98.0389 | -196.7925 | 110005 | 3:Measuring (10) | 120 | 100 | 4.0252 | 3.8309
101 | 14:27:44 | 2 | 883 | 77 | 3 | 20 | 3.2953 | 425.7238 | 39.0501 | 0.32198 | 829 | 95.089 | 19.6742 | 84.9965 | 29.0366 | 0.82112 | 0.0080692 | 0 | 0 | 2 | 31.0165 | 429.976 | 39.09 | 30.9902 | 29.0366 | 0.42563 | 98.0395 | -196.7417 | 110005 | 3:Measuring (12) | 120 | 100 | 4.0303 | 3.8324
102 | 14:27:47 | 2 | 885.5 | 77 | 3 | 20 | 3.3359 | 427.7964 | 39.0711 | 0.32594 | 829 | 95.1911 | 19.6535 | 84.987 | 29.0257 | 0.83147 | 0.0074863 | 0 | 0 | 2 | 31.025 | 432.1045 | 39.1068 | 30.9999 | 29.0257 | 0.070931 | 98.0406 | -196.5351 | 110005 | 3:Measuring (15) | 120 | 100 | 4.0277 | 3.8341
103 | 14:27:49 | 2 | 888 | 77 | 3 | 20 | 3.2946 | 429.8381 | 39.0887 | 0.32191 | 829 | 95.0533 | 19.6523 | 84.9516 | 29.0583 | 0.82135 | 0.007214 | 0 | 0 | 2 | 31.0351 | 434.0954 | 39.1244 | 31.0149 | 29.0583 | 0.11823 | 98.0396 | -196.5225 | 110005 | 3:Measuring (17) | 120 | 100 | 4.0354 | 3.8357
104 | 14:27:52 | 2 | 890.5 | 77 | 3 | 20 | 3.248 | 431.8895 | 39.1062 | 0.31735 | 829 | 94.9663 | 19.6436 | 84.9399 | 29.0811 | 0.80984 | 0.0069438 | 0 | 0 | 2 | 31.0452 | 436.196 | 39.14 | 31.0244 | 29.0811 | 0.089852 | 98.04 | -196.4362 | 110005 | 3:Measuring (20) | 120 | 100 | 4.0407 | 3.8373
105 | 14:27:54 | 2 | 893 | 77 | 3 | 20 | 3.2467 | 433.9259 | 39.1232 | 0.31723 | 829 | 95.048 | 19.657 | 84.9334 | 29.0767 | 0.80981 | 0.0062407 | 0 | 0 | 2 | 31.0649 | 438.2412 | 39.1633 | 31.0363 | 29.0767 | 0.10877 | 98.0411 | -196.5697 | 110005 | 3:Measuring (22) | 120 | 100 | 4.0397 | 3.8396
106 | 14:27:57 | 2 | 895.5 | 77 | 3 | 20 | 3.3541 | 435.9796 | 39.14 | 0.32772 | 829 | 94.9688 | 19.6291 | 84.9174 | 29.0961 | 0.83634 | 0.0070337 | 0 | 0 | 2 | 31.0733 | 440.2894 | 39.174 | 31.0447 | 29.0961 | 0.13241 | 98.0425 | -196.291 | 110005 | 3:Measuring (25) | 120 | 100 | 4.0442 | 3.8407
107 | 14:27:57 | 2 | 896 | 77 | 4 | 41 | 3.2887 | 430 | 39.14 | 0.32133 | 829 | 94.9622 | 19.6307 | 84.9157 | 29.0987 | 0.83634 | 0.0070337 | -0.00019788 | 0.40642 | 2 | 31.0739 | 440.7249 | 39.1778 | 31.0465 | 29.0987 | 0.30264 | 98.0412 | -196.3075 | 110005 | 4:Compute Final | 120 | 100 | 4.0448 | 3.841